District Department of the Environment

FISCAL YEAR 2014

PUBLIC NOTICE

Notice is hereby given that, pursuant to 40 C.F.R. Part 51.161, and D.C. Official Code §2-505, the Air Quality Division (AQD) of the District Department of the Environment (DDOE), located at 1200 First Street NE, 5th Floor, Washington, DC, intends to issue air quality permit #6939 to to the Cellco Partnership (DBA Verizon Wireless) to construct and operate a 50 kW emergency generator set with 83.4 HP natural gas fired engine at 1221 22nd Street NW, Washington DC. The contact person for the facility is Matthew Melito; Director of Operations, at 800-488-7900.

The proposed emission limits are as follows:

a.	Emissions from each unit shall not exceed those in the following table, as measured according to the procedures set forth in 40 CFR 89, Subpart E  [40 CFR 60.4233(d), and 40 CFR 60 Subpart JJJJ, Table 1]:

| Pollutant Emission Limits (g/HP-hr) |
| --- |
| NOx + HC | CO |
| 10 | 387 |

b.	Visible emissions shall not be emitted into the outdoor atmosphere from the generator, except that discharges not exceeding forty percent (40%) opacity (unaveraged) shall be permitted for two (2) minutes in any sixty (60) minute period and for an aggregate of twelve (12) minutes in any twenty-four hour (24 hr.) period during start-up, cleaning, adjustment of combustion controls, or malfunction of the equipment [20 DCMR 606.1]

c.	An emission into the atmosphere of odorous or other air pollutants from any source in any quantity and of any characteristic, and duration which is, or is likely to be injurious to the public health or welfare, or which interferes with the reasonable enjoyment of life or property is prohibited. [20 DCMR 903.1]

The estimated emissions from the Emergency Generator are as follows:

| Pollutant | Maximum Annual Emissions (tons/yr) |
| --- | --- |
| Carbon Monoxide (CO) | 1.08 |
| Oxides of Nitrogen (NOx) plus Total Hydrocarbons (THC) | 0.26 |
| Total Particulate Matter (PM Total) | <0.01 |
| Sulfur Dioxide (SOx) | <0.01 |

The application to construct and operate the emergency generator and the draft permit and supporting documents are available for public inspection at AQD and copies may be made available between the hours of 8:15 A.M. and 4:45 P.M. Monday through Friday.  Interested parties wishing to view these documents should provide their names, addresses, telephone numbers and affiliation, if any, to Stephen S. Ours at (202) 535-1747.

Interested persons may submit written comments or may request a hearing on this subject within 30 days of publication of this notice.  The written comments must also include the person’s name, telephone number, affiliation, if any, mailing address and a statement outlining the air quality issues in dispute and any facts underscoring those air quality issues.  All relevant comments will be considered in issuing the final permit.

Comments on the proposed permit and any request for a public hearing should be addressed to:

Stephen S. Ours                                                                                                                                 Chief, Permitting Branch

Air Quality Division

District Department of the Environment

1200 First Street NE, 5th Floor

Washington, DC 20002

Stephen.Ours@dc.gov

No written comments or hearing requests postmarked after September 15, 2014 will be accepted.

For more information, please contact Stephen S. Ours at (202) 535-1747.