## Sheet1
Project Name:
Date:
Appendix Z Requirement | Requirement Metric | Required Information |  | Compliance | Checkbox validation | Justification | Documentation
See Appendix Z for full description. | See Appendix Z for full description. | Provide information in shaded cells. Unshaded cells calculate automatically. |  | Compliance results will fill in automatically. |  | Provide a short description for requirements that do not comply with the requirement. | List the submitted documentation that supports the compliance or exemption request.
Z2 Minimum Performance Requirements
Z2.1 Building Energy Use Intensity | Source EUIp (kBtu/ft2): |  |  | Does not comply
Source EUIb (kBtu/ft2):
zEPI:
Z2.2 Building Thermal Energy Performance (Annual heating demand and Annual cooling demand) | Total conditioned floor area (ft2): |  |  | Does not comply
Annual space and ventilation heating output (kBtu): Note: This value is not equivalent to EUI or energy consumption of heating equipment.
Annual heating demand (kBtu/ft2iCFA/yr):
| Annual space and ventilation cooling output (kBtu): Note: This value is not equivalent to EUI or energy consumption of cooling equipment. |  |  | Does not comply
Annual cooling demand (kBtu/ft2iCFA/yr):
Z2.3 Multiple Buildings on a Site | Number of buildings on site: |  |  | Does not comply
| For projects with multiple buildings on a site, indicate how energy use will be assigned across buildings: |  | Energy use associated with the building site will be assigned to each building proportionately to the gross floor area of all buildings on the site. |  | FALSE
|  |  | Where it can be shown that energy to be used as the building site is associated with a specific building, that energy use will be assigned to that specific building. |  | FALSE
|  |  | Not applicable (Individual building) |  | FALSE
Z2.4 Registered Design Professional in Responsible Charge of Building Energy Simulation | Indicate if applicant has engaged the services of a registered design professional for building energy simulation: |  | Yes | Does not comply | FALSE
|  |  | No |  | FALSE
Name of registered design professional:
Z2.5 Building Commissioning | Indicate systems that will be commissioned in accordance with the Energy Conservation Code (Note: Appendix Z requires all listed systems to be commissioned): |  |  | Does not comply | FALSE
FALSE
FALSE
FALSE
FALSE
Z2.6 Airtightness Testing | Indicate if whole building pressurization testing will be conducted. |  | Whole building pressurization testing will be conducted. | Does not comply | FALSE
Z3 Renewable Energy
Z3.1 On-site Combustion | Indicate if project includes on-site combustion of fossil fuels: |  | No on-site combustion of fossil fuels | Does not comply | FALSE
|  |  | On-site combustion of fossil fuels - emergency systems only |  | FALSE
|  |  | On-site combustion of fossil fuels - non-emergency systems |  | FALSE
If project includes on-site combustion, list fossil fuel-powered systems:
Z3.2 Acceptable Sources of Renewable Energy | Select on-site renewable energy source(s): |  | Photovoltaic panels | Does not comply | FALSE
|  |  | Solar thermal system |  | FALSE
|  |  | Geothermal system |  | FALSE
|  |  | Wind turbines |  | FALSE
|  |  | Biogas |  | FALSE
|  |  | Other, as approved by code official. |  | FALSE
| If using an alternative source approved by the code official, indicate source: |  |  |  | TRUE
Z3.3 On-site Renewable Energy | The project will demonstrate one of the following: |  | A minimum of 5% of the total building energy consumption will be met by an acceptable source of renewable energy installed on the building roof or site. | Does not comply | FALSE
|  |  | A minimum of 25% of the total site area, including building footprint, will be allocated for photovoltaic array and energy production. |  | FALSE
Provide percentage of total building energy consumption met through renewable energy or total site area allocated for energy production:
Z3.4 Procurement of Off-site Renewable Energy | The project will demonstrate one of the following: |  | A power purchase agreement for a minimum period of 5 years for electricity generation from solar or wind-generation facilities that are located in the PJM Interconnection region. | Does not comply | FALSE
|  |  | Connection to a renewable energy microgrid. |  | FALSE
|  |  | Connection to a low-carbon neighborhood thermal energy system. |  | FALSE
Z4 Energy Metering, Monitoring, and Reporting
Z4.3 Energy Metering | Indicate if all forms of energy will be metered and all energy load types will be measured (Note: Appendix Z requires all energy forms and loads to be metered and measured): |  | All forms of energy delivered to the building and building site will be metered. | Does not comply | FALSE
|  |  | All forms of energy produced on the building or building site will be metered. |  | FALSE
|  |  | All energy load types will be measured. |  | FALSE
Z4.4 Ventilation Flow Rate | Indicate if the building will enable collection of real-time and historical data, in addition to meeting the requirements outlined in the Energy Conservation Code - Commercial Provisions: |  | All centrally ventilated building systems will be designed to enable the collection of real-time and historical ventilation flow rate data. | Does not comply | FALSE
Z4.5 Grid Integration | Indicate if grid integration is applicable or has been considered: |  | In places where equipment constraints in the distribution network render net metering impossible, onsite storage options have been considered. | Does not comply | FALSE
|  |  | Not applicable. |  | FALSE
Z5 Energy Reporting
Z5.1 Post Occupancy Measurement and Reporting | Certify that the owner will meet post occupancy measurement and reporting requirements (Note: Appendix Z requires owners to meet both requirements): |  | The owner will annually benchmark and report their energy and water performance using the Energy Star® Portfolio Manager tool, including renewable energy generation and green power usage. | Does not comply | FALSE
|  |  | The owner will create an Energy Star® Portfolio Manager account and property record on the U.S. EPA's benchmarking website and share the property with the District of Columbia's Department of Energy and Environment. |  | FALSE
Z5.2 Performance Verification | Certify that the owner will meet performance verification requirements: |  | Within 24 months of occupancy, the owner will submit documentation to the code official demonstrating 12 continuous months of operation with no less than 90% occupancy where the energy consumed by the building and building site as measured in accordance with Section Z4 are equal to or less than the renewable energy associated with the building and building site. | Does not comply | FALSE
Note on B12: The annual heating output of all systems in the building that maintain space temperature setpoints and heat ventilation air including the heating coils of the central air systems (e.g., make-up air units and air handling units) and terminal equipment (e.g., fan coils, heat pumps, and unit heaters). Source: 2023 Technical Guidance Massachusetts Stretch Energy Code Attachment C Page 8
Note on B13: Annual heating demand is the ratio of the amount of heating energy that is output from all heating and ventilation equipment to the total conditioned floor area of the building. Source: 2023 Technical Guidance Massachusetts Stretch Energy Code Attachment C Page 8
Note on B14: The annual cooling output of all HVAC systems that maintain space temperature setpoints and cool ventilation air, including but not limited to the cooling coils of the central air systems (e.g., make-up air units, air handling units) and terminal equipment (e.g., fan coils and heat pumps). Source: 2023 Technical Guidance Massachusetts Stretch Energy Code Attachment C Page 8
Note on B15: Annual cooling demand is the ratio of the amount of cooling energy that is output from all heating and ventilation equipment to the total conditioned floor area of the building. Source: 2023 Technical Guidance Massachusetts Stretch Energy Code Attachment C Page 8
Building envelope
HVAC and controls
Lighting and controls
Domestic hot water systems
Renewable energy systems
Appendix Z Compliance Worksheet
Projects requesting exemption from Green Building Act net-zero energy standards should complete this worksheet by filling in or selecting the applicable boxes in Column C, Column G, and Column H. Projects with multiple buildings on a site should complete one worksheet for each building.